Freeport Sanitary Sewer System

Property Owner Connection Guide

This document provides a general guide to Freeport property owners on the steps needed to connect to the new sewer system and abandon their existing septic system. Links to each document are provided on the electronic version of this guide found at: https://www.harrisoncountyohio.gov/waterandsewer.

- Apply for funding if eligible.

- See application and check eligibility here: Freeport – CDBG Application for Individual Connection – 60.

- Funding applications are due to RCAP by October 1, 2025.

- Solicit quotes from contractors for connection of your property to the public sewer system.**

- If utilizing funding assistance, an Approved Contractor is required.

- See Freeport Approved Contractor’s list; other qualified contractors may be utilized if you are not utilizing funding assistance.

- Refer to Sewer System As-built Plans for information on your property’s connection location.

- Refer to the Geotechnical Report to determine if rock excavation may be required.

- Select connection contractor and schedule work.**

- Refer to Contractor Preconstruction Meeting Minutes for additional information.

- You may be able to reduce costs by partnering with neighbors to utilize the same contractor.

**Coordination process with Contractor may be slightly different depending on funding source. RCAP and/or Harrison County Health Department will help guide you through the process as necessary for those receiving funding.

- Install connection and coordinate Harrison County Water & Sewer District inspection.

- Residents will have 90 days from notice to connect.

- Connection and County inspection/approval shall be made by December 31, 2025.

- Complete the Harrison County Water & Sewer District sewer connection permit form and schedule inspection prior to covering over the private sewer and before making final connection to the public sewer - see contact information in connection notice letter.

- Connection must meet requirements of District standard connection detail.

- Remove, haul, and dispose of septic system contents by registered Septage Hauler.

- Septage hauler must be registered in Harrison County.

- Your connection installation contractor may be able to coordinate this for you.

- Abandon existing septic system per Harrison County Health Department requirements.

- Septic system abandonment permit, fee, and inspection are required.

- See sewage health department webpage at: Sewage – Harrison County Health Department

CAUTION! Trenches can be extremely dangerous and may collapse if not properly supported. Only experienced and qualified contractors should install sewer service piping and connections to help protect you and your property.

Refer to Contractor Preconstruction Meeting Minutes for additional information on septic system abandonment requirements and health department contact information regarding permitting and inspections.